ADDITIONAL CONSIDERATIONS FOLLOWING A PRE-APPLICATION
CONTENTS

# RELEVANT CONSIDERATIONS
# Biodiversity (trees, ecology and landscape)

The importance of trees, ecology and landscape is recognised at every policy level, Nationally NPPF chapter 15; regionally London Plan policies G5, G6 & G7 and locally within Barnet Council’s Local Plan (Adopted 2025) policies CDH07, CDH08, and ECC06 all require developers to consider, trees, ecology and landscape which builds biodiversity. The following references are also considered; Circular 06/2005: Biodiversity and Geological Conservation – Statutory Obligations and their Impact within the Planning System, ODPM, 2005, London Biodiversity Action Plan, London Plan, 2016, London Regional Landscape Framework, Natural England, 2010.

To support planning applications where there are trees growing on the site or on adjoining land supporting information following guidance set out within BS5837:2012 Trees in relation to design demolition and construction-recommendations must be submitted. Designs must incorporate existing trees wherever possible and provide space for new tree planting. Where trees are proposed to be removed, they must be valued in accordance with policy G7 and an equivalent value of new replacement tree planting provided on site or with agreement on land nearby.

Ecology and Development:

Sites being considered for development must retain valuable, and irreplaceable and priority habitats, and protected habitats (such as bat roosts, great crested newt ponds, or badger setts, water vole burrows), and deliver significant enhancement for biodiversity as per the abovementioned guidance. This will inform the level of information required for the authority to evaluate supporting information for example Preliminary ecological assessments (PEA), Preliminary Bat Roost assessments (PRA), and Ecological Impact Assessment (EcIA) containing protected species surveys. EcIAs contains detailed evaluation of the protected ecological features presence and identify, quantify, and assess the potential ecological impacts of a project through appropriate ecology survey effort.

Nationally significant and major developments such as those categorised as Schedule 1 or 2 under The Town and Country Planning (Environmental Impact Assessment) Regulations 2017 will need to be subject to an EIA screening; and if warranted, an Ecological Statement within and Environmental Impact Assessment will need to be submitted in support of the application. All developments will need to adhere to the Mitigation Hierarchy whereby efforts are required to Avoid, Mitigate, Remediate, and at a last resort Offset any negative impacts on ecology.

Applicants are strongly advised to seek specialist advice on ecological matters at the earliest opportunity because any required supporting surveys are time sensitive and will delay approval if they have not been completed. This should take the form of an Ecological Scoping Report or Ecological Opportunities and Constraints Plan to take full stock of the ecological features present onsite. The Local Planning Authority will not be able to accept planning applications which possess an unacceptable risk of harm to protected species or loss of biodiversity within the borough. If the proposed development is on a site of 1ha and will permanently impact habitat of at least 25m2 or 5m of continuous linear habitat then consideration must be given to statuary Biodiversity Net Gain (refer to Biodiversity Net Gain (Environmental Act 2021)).

Statutory and Non-Statutory Sites:

Where there is potential for a proposed development to impact directly or impact within the Zone of Influence of a statuary (SSSI, Local Nature Reserve) or non-statuary designated site (Site of Local, Borough, and Metropolitan Importance for Conservation) supporting ecological reports must submitted prior to determination. A Designated Site Assessment must be undertaken in the event that a proposed development is deemed likely to have a significant direct or indirect impact on the Brent Reservoir SSSI to determine if the proposed works are compliant with Section 28 of the Wildlife and Countryside Act 1981 (as amended). Ecological report would need to follow guidance set out within BS 42020:2013 Biodiversity — Code of practice for planning and development, and CIEEM’s Guidelines for Ecological Impact Assessment (EcIA) (September 2018).

Protected species:

The presence and safeguarding of protected species are of statuary concern under UK law (Wildlife and Countryside Act 1981 (as amended) and Conservation of Habitat and Species Regulation 2017) and of material consideration within planning under Circular 06/2005: Biodiversity and Geological Conservation – Statutory Obligations and their Impact within the Planning System. Protected species surveys (if required) must be undertaken to confirm the presence or likely absence and appropriate levels of mitigation prior to determination. It is important to note that many protected species surveys are seasonal constrained.

The presence of protected species is of material consideration within planning and in cannot be conditioned. The LPA may only condition protected species surveys or additional ecological surveys in exceptional circumstances as referenced in Section D5 of BS 42020 – a code of practice for biodiversity in planning and development. Protected species licences e.g. Natural England European Protected Species Mitigation (EPSM) Licences, cannot be conditioned and would need to be obtained by applicant and discharged following planning consent.

Bats:

Bats and their roosts are strictly protected from disturbance, injury or removal under the Wildlife and Countryside Act 1981 (as amended) and the Conservation of Habitats and Species Regulations 2017. Any proposed development (e.g. loft conversion, demolitions, woodland clearance) that would impact important habitat for bats must be support by appropriate level of survey in the correct survey timetable. Equally the proposed works must meet the requirement of the “Three Tests” as per Regulation 53(2)(e) of the Conservation of Habitats and Species Regulation 2017 necessary to grant planning permission. Upon which an applicant would need to apply for an appropriate licence from Natural to enable thereafter works to occur lawfully.

Below is a summary of those assessments and surveys and their respective timings that applicants should be aware of before making an application adapted from the Professional Bat Surveys for Professional Ecologists: Good Practice Guidelines (4th edition) (Collins, J. (ed.):

Bat Assessments/Surveys	Purpose	Timing
Preliminary Roost Appraisal (including internal inspection)	To determine the suitability of a building or structure to support roosting bats and if further surveys/mitigation is required.	Any time of year
Ground Level Tree Assessment/ and aerial tree inspections	To determine the suitability of trees to support roosting bats and classification of the potential roost features and if further endoscope or traditional bat surveys are required.	Any time of year (but ideal during winter when foliage is less dense and potential roost features are easier to see).
Winter hibernation survey	To search for and identify evidence/ presence of hibernating bats within a building/structure or tree.	November to March (if required, one visit in Mid-January and one in Mid-February)
Bat emergence/re-entry surveys	To confirm the presence or likely absence of roosting bats from a building/structure or tree.	Low suitability – May – August. / Moderate suitability – May to September (with at least one between May and August) / High suitability - (May to September (with at least two between May and August)
Roost characterisation surveys	To gather further details on the physical characteristic of a roost that is discovered during an emergence survey, and evaluate the type, importance and conservation status (e.g., transitional, hibernation, mating, maternity, summer, day roosts).	May to August (but surveys in April may be necessary to identify transitional roost and/or September/October to identify mating roost)
Bat activity surveys (transect survey and/or static monitoring, swarming surveys)	To assess the use of a site by commuting and foraging bats and evaluate the site’s importance for bats.	April to October (April, September, and October surveys) are dependent on weather conditions). Swarming surveys – Mid-August – Mid-October

For further information please refer to Bat Surveys for Professional Ecologists - Good Practice Guidelines (4th edition) (Collins, J. (ed.)) Bat Surveys for Professional Ecologists: Good Practice Guidelines 3rd edition - Guidance for professionals - Bat Conservation Trust

# Biodiversity Net Gain (Environment Act 2021)
The importance of reversing biodiversity loss within the planning process is now enshrined through Biodiversity Net Gain as per the Environment Act 2021. Biodiversity Net Gain is recognised at every policy level, Nationally NPPF chapter 15; regionally London Plan policy G6 and locally within Barnet Council’s Local Plan (Adopted 2025) policies CDH07, CDH08, and ECC06. It is a statuary requirement whereby every applicable planning permission is deemed to have been granted subject to a general biodiversity gain condition to secure to deliver at least a 10% net gain increase in relation to the pre-development biodiversity value of the development site. This minimum 10% Net Gain increase can be achieved through onsite biodiversity gains, registered offsite biodiversity gains, purchase of biodiversity or statuary credits or a combination of these.

On February 12th, 2024, The Environment Act 2021 (Commencement No. 8 and Transitional Provisions) Regulations 2024 took effect. Under amendments S.90A and Schedule 7a (Biodiversity Gain In England) of the Town and Countryside Planning Act (TCA) all major application which permanently impact habitat of an area which at least a ‘de minimis’ threshold of 25 metres squared, or 5m for linear habitats such as hedgerows or river will be subject to the Statutory Biodiversity Net Gain Framework. As of April 2nd, 2024, the Act requires all minor developments applications (0.5 hectares or greater) will need to demonstrate Net Gain of 10% providing they meet the ”de minimis” habitat threshold. Baseline habitats are assessed and evaluated using the Statutory Metric developed by Department of Environment and Rural Affairs (DEFRA), known as the DEFRA Metric 4.0 required for any applicable planning application. Any evidence of seemly deliberate degradation to reduce the baseline biodiversity value since January 2020 and prior to submission of the application will trigger the LPA to require an assessment of the baseline habitats will using appropriate evidence and archive records to value the pre-existing habitats to at least one day prior the deliberate degradation works.

Applicants are advised to take the requirements of BNG into account in very early stages of concept and design to avoid the loss of medium to very high distinctiveness habitats (Biodiversity Units). The Good Practices Principles for Biodiversity Net Gain Biodiversity Net Gain: Good Practice Principles for Development, A Practical Guide. | CIEEM are adhered throughout the planning process the Council recommends that engaging an ecologist at the earliest opportunity. Suitably qualified ecologists can be found on the register Institute of Chartered Ecologists and Environmental Management (ICEEM) found here Home | CIEEM. Depending on the type, distinctiveness, condition, and strategic significance of habitat present within the applicants are encouraged to consider the replacement costs of the habitats; if lost, as this could affect the viability of the development.

If the design does impact on identified habitats; mitigation measures will be required, this can include the enhancement of remaining habitats or replacement either within the red line boundary, site offsite, or as a last resort through the purchase of Biodiversity Units or Statutory Credits (see figure below). Applications that cannot deliver the statuary 10% Biodiversity Net Gian would be refused. Loss of Irreplaceable habitats as outlined under Schedule of the Biodiversity Gain Requirements (Irreplaceable Habitat) Regulations 2024 (e.g. ancient woodland, veteran, and ancient trees) will be deemed wholly unacceptable, unless in the unlikely and extreme circumstance, compensatory measures are evidenced in the application which are considered acceptable.

Applicants are strongly advised to take full inventory of the Biodiversity Net Gain value of all habitats present within their site and produce a Biodiversity Net Gain Statement as part of their viability study to avoid the risk significant delays and costs associated with the BNG at the application stage. The statement should include the following information:

1. Details on the site, the habitats present and their baseline BNG value,
2. Details on post-development BNG scenarios calculated using an approved Defra Metric 4.0,
3. Demonstration of commitment to adherence to the Good Practice Principles for BNG (see figure below), and;
4. Any Information on ownership of any offset land (ideally within the borough) or purchase of Biodiversity credits if the proposed scheme does not achieve at least a minimum 10% Net Gain onsite.

Illustrative diagram of Good Practice Principles for Biodiversity Net Gain
1. Avoid – The developer should avoid all unnecessary loss or damage to habitats with a distinctiveness score of 6 or higher in the first instance. This can be achieved through designing out any such loss.
2. Mitigate – If habitat loss or damage cannot be reasonable avoided then should the taken to demonstrate a reduction I severity, extent, magnitude and/or timings of the works.
3. Enhance – Following mitigation, the developers should demonstrate effort to enhance any such habitats that have been damaged by the proposed works.
4. Create - If enhancement measures are insufficient then, the developers should demonstrate appropriate onsite compensation of habitat loss through the creation of new habitats of equal or higher quality.
5. Offset – If sufficient compensation cannot be achieved onsite, then as a last resort appropriate provision of high-quality habitats or species mitigation and/or enhancement must be made offsite, or in extreme cases, through the purchase of statuary credits, in the event that offsetting offsite is not feasible.
If any significant biodiversity enhancement is expected to be achieved on and/or offsite, then LPA will seek to secure such gains with the applicant by means of planning obligations, in such instances the applicant would be advised to submit a draft S106 heads of terms and a Draft Habitat Management and Monitoring Plan for approval prior to planning permission being granted.
The requirement for developments to achieve net gain does not override the applicant statuary requirement to safeguard of protected species as enshrined with the Conservation of Habitat and Species Regulation 2017 and Wildlife and Countryside Act 1981 (as amended). All necessary protected species surveys would need to be undertaken prior to determination and any mitigation implemented sperate to the delivery of BNG.
# Refuse and Recycling
For residential development:
Bin stores should be designed to include storage for both refuse and recycling. Further details on the standards can be found on the Council's web site:

https://www.barnet.gov.uk/recycling-and-waste/household-recycling-and-waste/information-developers-and-architects

Any application for new residential development should include details of refuse and recycling bins and demonstrate compliance with the relevant standards; details of this including refuse management would need to be provided to the Local Planning Authority. Planning officers will consult with Barnet Waste and Refuse Team when the application is submitted. The walking distance for the crew to collect the bins should not exceed ten metres from the collection point.

For commercial development:
With regards to waste bins provision for commercial units (if the applicant wishes to pursue with this option), further information is provided on the Council’s website:

https://www.barnet.gov.uk/roads-and-pavements/road-maintenance/street-care-and-cleaning/street-cleaning/keep-barnet-clean-0

The applicant is reminded that there is a duty of care to deal with waste responsibly. Further details would be required to ensure that the commercial waste is effectively managed.

# Fire Safety
Policy D12 of the London Plan states that all development proposals should achieve the highest standards of fire safety from the outset. Developments should ensure “that they:

1) identify suitably positioned unobstructed outside space:
a) for fire appliances to be positioned on
b) appropriate for use as an evacuation assembly point
2) are designed to incorporate appropriate features which reduce the risk to life and the risk of serious injury in the event of a fire; including appropriate fire alarm systems and passive and active fire safety measures
3) are constructed in an appropriate way to minimise the risk of fire spread
4) provide suitable and convenient means of escape, and associated evacuation strategy for all building users
5) develop a robust strategy for evacuation which can be periodically updated and published, and which all building users can have confidence in
6) provide suitable access and equipment for firefighting which is appropriate for the size and use of the development.”

Major developments are required to submit a Fire Statement. Policy D5 states that where lifts are installed, at least one lift per core should be a suitably sized fire evacuation lift.

The GLA are currently consulting on the Fire Strategy LPG, which was prepared in consultation with the London Fire Brigade. The guidance sets out how applicants should demonstrate compliance with London Plan Policies D12 and D5(B5), where applicable. The guidance confirms that planning officers are not experts in fire safety, therefore the onus is on the applicant and the fire safety expert to demonstrate compliance with the London Plan fire safety policies. This draft LPG provides template forms for the applicant to easily provide the required fire safety information and for planning officers to check that information has been provided against each relevant policy criteria.

Applicants are expected to demonstrate compliance with Policy D12 for every application and submit supporting information with any forthcoming application.

Planning Gateway One

The Government introduced Planning Gateway One to ensure consideration of fire safety matters are incorporated at the planning stage for schemes involving a relevant high-rise residential building.

Planning gateway one has two key elements:

      - to require the developer to submit a fire statement setting out fire safety considerations specific to the development with a relevant application for planning permission for development which involves one or more relevant buildings, and
- to establish the Health and Safety Executive as a statutory consultee for relevant planning applications

The following buildings are relevant under planning gateway one:

- Buildings which contain two or more dwellings or educational accommodation and
- meet the height condition of 18m or more in height, or 7 or more storeys

Further information can be found below:

Planning and fire safety - Planning and fire safety - Planning Portal

https://www.gov.uk/guidance/fire-safety-and-high-rise-residential-buildings-from-1-august-2021#what-is-planning-gateway-one

https://www.hse.gov.uk/landuseplanning/fire-safety.htm

# Sustainability

When progressing the design of the scheme please be aware that the Local Planning Authority will seek compliance with local and London wide planning policies on sustainability, reducing water usage and minimising carbon dioxide emissions from new development. Should an application be granted consent, conditions on these matters will be imposed, relating to:

- Water usage
- Accessibility
- Carbon dioxide emissions.

Water usage

Other related standards may also be relevant, but as a minimum all new housing will be expected to achieve a mains water consumption of 105 litres per head per day or less. Relevant planning policies on these matters include policy SI5 of the London Plan (2021); policy CS13 of the Barnet Core Strategy (2012); and policies CHD01 and CHD02 of the Barnet Local Plan (Adopted 2025).

Accessibility

All new development should ensure that the needs of future occupiers are met, and that the development complies with the requirements of policies D7 of the London Plan (2021) and policy CHD02 of the Barnet Local Plan (Adopted 2025).

In order to comply with part M4(2), residential schemes would need to provide level access (lifts). Any application should include confirmation in writing that the relevant criteria of Part M4(2) of Schedule 1 to the Building Regulations 2010 can be met; if consent is granted, this will be conditioned. London Plan paragraph 3.7.6 states:

“In exceptional circumstances the provision of a lift to dwelling entrances may not be achievable. In the following circumstances – and only in blocks of four storeys or less – it may be necessary to apply some flexibility in the application of this policy:
  1. Specific small-scale infill developments (see Policy H2 Small sites)
  2. Flats above existing shops or garages
  3. Stacked maisonettes where the potential for decked access to lifts is restricted”

In addition, for major applications (proposals of 10 or more units) 10% of the proposed units would need to be wheelchair adaptable dwellings and comply with Part M4(3).

Carbon Dioxide Emissions

Any submission should clearly demonstrate how a proposal is making the fullest possible contribution to minimising carbon dioxide emissions in accordance with the following energy hierarchy:

- Be lean: use less energy
- Be clean: exploit local energy sources and supply energy efficiently
- Be green: maximise opportunities for renewable energy by producing,
- storing and using renewable energy on-site
- Be seen: monitor, verify and report on energy performance.

Applications should include a commitment to the scheme proposed achieving a specific level of improvement in carbon dioxide emissions beyond the 2013 Building Regulations. A minor residential scheme would be expected to achieve at least 10% and a non-residential scheme at least 15% as detailed in Policy SI2 of the London Plan 2021.

For major development, schemes are expected to comply with the Mayor’s net-zero carbon policy, where major residential developments are expected to achieve a minimum 35% reduction in regulated carbon dioxide emissions (beyond Part L 2013) on-site. Where it is clearly demonstrated that the zero-carbon target cannot be fully achieved on-site, any shortfall should be provided, in agreement with the borough, either:
1) through a cash in lieu contribution to the borough’s carbon offset fund, or
2) off-site provided that an alternative proposal is identified and delivery is certain.

New development is expected to get as close as possible to zero-carbon onsite, rather than relying on offset fund payments to make up any shortfall in emissions. The London Plan notes that the price for offsetting carbon is regularly reviewed; a nationally recognised non-traded price of £95/tonne has been tested as part of the viability assessment for the London Plan which boroughs may use to collect offset payments.

Relevant planning policies on this matter include policy CHD02 of the Barnet Local Plan (Adopted 2025) and policies SI2 and SI3 of the London Plan (2021).

In these instances, the application will also need to be supported by an Energy Statement.

# Community Infrastructure Levy
The Community Infrastructure Levy (CIL) is a planning charge that Local Authorities and the Mayor of London can set on new development to help pay for community infrastructure.

The CIL will apply to all ‘chargeable development’ defined as:
- Consisting of buildings usually used by people;
- Delivering 100sqm or more of gross internal floorspace or the creation of one additional dwelling, even of the gross internal floorspace is <100sqm; or
- Floorspace that is not exempted under the Act, the Regulations or for a locally defined reason.

In Barnet, a new charging schedule will come into effect on 1st April 2022. Different rates of CIL will be charged by the land use of a proposed development, as set out below[1]:
[1] In accordance with government guidance, the rates have been set on the basis of the intended use of development. The definition of “use” for this purpose is not tied to the classes of development in the Town and Country Planning Act (Use Classes) Order 1987 (as amended) although reference has been made in the table above to use classes in that Order in order to provide a useful reference point. Therefore, in the CIL charging schedule, the reference made to the use classes are not limited to those use classes.
- Residential including C2, C3 and C4 use classes and sui generis HMOs and other sui generis residential uses - £300 per sqm
- Hotels (C1) - £200.09 per sqm
- Retail (including former A1-A5 uses) - £200.09 per sqm
- Leisure (including former D2 uses and sui generis leisure uses) - £0
- Employment (including former B use classes and / or B2 and B8 uses) - £20 per sqm
- All other uses -£0

Ancillary car parking is not exempt from the calculation.

The Mayor of London adopted a CIL charge on 1st April 2012. In February 2019 the Mayor adopted a new charging schedule (MCIL2) and on April 1st 2019 this was adopted setting a rate of £60 per sq metre (index linked) on all forms of development in Barnet except for a £0 per sqm rate for education and health developments.

Further details of CIL requirements can be found on the Council website:
https://www.barnet.gov.uk/planning-and-building/planning/community-infrastructure-levy

# ENVIRONMENTAL HEALTH
# Overheating
All developments

All developments are required to undertake a detailed analysis of the risk of overheating as part of the planning application, not submitted post planning in response to a condition.

It is important to identify potential overheating risk in residential accommodation early on in the design process and then incorporate suitable passive measures within the building envelope and services design to mitigate overheating and reduce cooling demand in line with London Plan Policy SI 4.

All residential applications should complete the Good Homes Alliance (GHA) Early Stage Overheating Risk Tool. The GHA tool and accompanying guidance is intended for use at the early design stages of new residential development in order to identify key factors contributing to overheating risk, and possible mitigation measures.

Passive ventilation should be prioritised, taking into account external noise and air quality in determining the most appropriate solution. It will be expected that applicants can fully demonstrate that all passive design measures have been thoroughly investigated before considering ‘active cooling’, this should include technical and cost feasibility assessments of the following fixed shading devices; external shutters, external blinds, awnings and ventilated louvres.

Major developments

Major developments should complete the Good Homes Alliance (GHA) Early Stage Overheating Risk Tool and submit it to the GLA as part of the preliminary energy information for the development. Non-residential developments should outline in the preliminary strategy information submitted to the GLA, how the overheating risk will be minimised.

Major development proposals should demonstrate through an energy strategy how they will reduce the potential for internal overheating and reliance on air conditioning systems in accordance with the Mayor of London's cooling hierarchy.

London Plan Policy SI 4 requires all major development proposals to undertake dynamic overheating modelling in line with the relevant Chartered Institution of Building Services Engineers (CIBSE) guidance on assessing and mitigating overheating risk in new developments, which can also be applied to refurbishment projects. TM 59 should be used for domestic developments and TM 52 should be used for non-domestic developments. In addition, TM 49 guidance and datasets should also be used to ensure that all new development is designed for the climate it will experience over its design life.

It is important to note that dynamic overheating modelling will be required at the planning application stage regardless of what method may be taken to demonstrate compliance with Approved Document O of the Building Regulations.

Limitations on openable windows: In instances where security, air quality or noise concerns pose limitations to the opening of windows, applicants will be required to demonstrate that all passive design measures have been thoroughly investigated. This should include technical and cost feasibility assessments of the following fixed shading devices; external shutters, external blinds, awnings and ventilated louvres. Should natural ventilation not be proposed due to opening limitations, applicants are required to submit two separate overheating analyses; one with openable windows and one with closed windows. This will ensure that passive measures have been maximised and the façade design has been optimised regardless of the constraints posed by the site’s location. Applicants should demonstrate that the assumptions of the overheating model are aligned with the noise and air quality assessments. Applicants are encouraged to refer to relevant published guidance which draws together these areas including Approved Document O and the Acoustics, Ventilation and Overheating Residential Design Guide (January 2020).

Minor developments
Minor developments should complete the Good Homes Alliance (GHA) Early Stage Overheating Risk Tool.

Whilst the cooling hierarchy in Policy SI 4 of the London Plan applies to major developments, the principles can also be applied to minor developments. Applicants should therefore apply the principles below to their development:

The cooling hierarchy:
1. Reduce the amount of heat entering the building through orientation, shading, high albedo materials, fenestration, insulation and the provision of green infrastructure.
2. Minimise internal heat generation through energy efficient design: For example, heat distribution infrastructure within buildings should be designed to minimise pipe lengths, particularly lateral pipework in corridors of apartment blocks, and adopting pipe configurations which minimise heat loss e.g. twin pipes.
3. Manage the heat within the building through exposed internal thermal mass and high ceilings: Increasing the amount of exposed thermal mass can help to absorb excess heat within the building. Efficient thermal mass should be coupled with night time purge ventilation.
4. Provide passive ventilation: For example, through the use of openable windows, shallow floorplates, dual aspect units or designing in the ‘stack effect’ where possible.
5. Provide mechanical ventilation: Mechanical ventilation can be used to make use of ‘free cooling’ where the outside air temperature is below that in the building during summer months. This will require a by-pass on the heat recovery system for summer mode operation.
6. Provide active cooling systems: The increased use of air conditioning systems is generally not supported, as these have significant energy requirements and, under conventional operation, expel hot air, thereby adding to the urban heat island effect. However, once passive measures have been prioritised if there is still a need for active cooling systems, such as air conditioning systems, these should be designed in a very efficient way and should aim to reuse the waste heat they produce.

# Heating, Cooling & Noise
The applicant is advised that for new residential dwellings, schemes should consider heating and cooling of the proposed residential units early in the design stage.

The best methods of cooling are described in the section on overheating and should be designed in at the earliest stages and not result in the need for mechanical cooling such as air conditioning. However, it is advised that if the proposal includes air conditioning plant, consideration should be given to the siting of these in relation to neighbouring windows to prevent noise and disturbance.

The application will need to be supported by the following details if plant is proposed:

A noise report which has been carried out by a competent acoustic consultant that assesses the likely noise impacts from the development of the ventilation/extraction plant, and mitigation measures for the development to reduce these noise impacts to acceptable levels. The report shall include all calculations and baseline data, and be set out so that the Local Planning Authority can fully audit the report and critically analyse the content and recommendations.

Evidence that the level of noise emitted from the any proposed plant shall be at least 5dB(A) below the background level, as measured from any point 1 metre outside the window of any room of a neighbouring residential property. If the noise emitted has a distinguishable, discrete continuous note (whine, hiss, screech, hum) and/or distinct impulse (bangs, clicks, clatters, thumps), then it shall be at least 10dB(A) below the background level, as measured from any point 1 metre outside the window of any room of a neighbouring residential property.

If the scheme is considered a major development, particularly one with a southern/ western façade with windows serving habitable rooms, then the applicant would be required to carry out an overheating report. If the site is adjacent or near busy roads or junctions where high noise or air pollution exists, then an acoustic and an air quality consultant should also carry out an acoustic/ air quality report that cross refers to the overheating report.

All residential development with potential air or noise pollution concerns will be required to produce mitigation measures to reduce noise and air pollution in line with the local policy and London Plan.

Air Source Heat Pumps are encouraged but, to reduce the noise impact on neighbours, they should be sited as far from the boundary as possible and enclosed in an acoustic enclosure if necessary. They should be accompanied by an MCS 020 report from the installation company.

All development that requires external plant such as flues or extraction systems should provide a noise impact assessment and a scale diagram showing the location and dimensions of the unit(s) upfront.

The applicant is advised to engage a qualified acoustic consultant to advise on the scheme, including the specifications of any materials, construction, fittings and equipment necessary to achieve satisfactory internal noise levels in this location.

In addition to the noise control measures and details, the scheme needs to clearly set out the target noise levels for the habitable rooms, including for bedrooms at night, and the levels that the sound insulation scheme would achieve. The Council's Sustainable Design and Construction Supplementary Planning Document requires that dwellings are designed and built to insulate against external noise so that the internal noise level in rooms does not exceed 30dB(A) expressed as an Leq between the hours of 11.00pm and 7.00am, nor 35dB(A) expressed as an Leq between the hours of 7.00am and 11.00pm (Guidelines for Community Noise, WHO). This needs to be considered in the context of room ventilation requirements. The details of acoustic consultants can be obtained from the following contacts: a) Institute of Acoustics and b) Association of Noise Consultants.

The assessment and report on the noise impacts of a development should use methods of measurement, calculation, prediction and assessment of noise levels and impacts that comply with the following standards, where appropriate: 1) BS 7445(2003) Pt 1, BS7445 (1991) Pts 2 & 3 - Description and measurement of environmental noise; 2) BS 4142:2014+A1:2019- Method for rating industrial noise affecting mixed residential and industrial areas; 3) BS 8223: 2014 – Guidance on sound insulation and noise reduction for buildings: code of practice; 4) Department of Transport: Calculation of road traffic noise (1988); 5) Department of Transport: Calculation of railway noise (1995); 6) National Planning Policy Framework (2025)/ National Planning Policy Guidance (2021); 7) ProPG: Planning & Noise (May 2017); 8) Acoustics Ventilation and Overheating (January 2020).

Note that in addition to the above, consultants should refer to the most relevant and up to date guidance and codes of practice if not already listed in the above list.

# Improving Air Quality
London Plan Policy SI 1 states that development should not lead to further deterioration of existing poor air quality or create areas which exceed air quality limits. Policy SI 1 also states that all development, unless specifically excluded, is required to submit an Air Quality Neutral Assessment (AQN Assessment) demonstrating how the Air Quality Neutral benchmarks in this guidance will be met. There is a simplified assessment for minor development. All large major developments will need to demonstrate how they have used an air quality positive approach.

The assessment should be carried out before an application is submitted so that all mitigation has been designed into the scheme.

The Air Quality reports required under the Environment Act 1995 have highlighted that this area currently experiences or is likely to experience exceedances of Government set health-based air quality standards.  A list of possible options for mitigating poor air quality is as follows: 1) Use of passive or active air conditioning; 2) Use of acoustic ventilators; 3) Altering lay out so habitable rooms are sited away from source of poor air quality; 4) Non-residential usage of lower floors; 5) Altering footprint by siting further away from source of poor air quality.

For developments that require an air quality report; the report should have regard to the air quality predictions and monitoring results from the most recent Review and Assessment report available from the LPA web site and Air Quality England. The report should be written in accordance with the following guidance : 1) Environmental Protection UK and IAQM Guidance: Land-Use Planning and Development Control: Planning for Air Quality (Jan 2017); 2) Environment Act 1995 Air Quality Regulations; 3) London Specific - Local Air Quality Management Technical Guidance LLAQM.TG(19) (2019); 4) London Councils Air Quality and Planning Guidance (2007); 5) Mayor of London’s Supplementary Planning Guidance for Sustainable Design and Construction (2014); 6) Section 6.2 of the Technical Guidance Note D1 (Dispersion) ‘Guidelines on Discharge Stack Heights for Polluting Emissions; 7)  The Control of Dust and Emissions during construction and demolition supplementary planning guidance (July 2014); 8) Air Quality Neutral Planning Support Updates (April 2014 and February 2023); 9) National Planning Policy Framework (2025)/ National Planning Policy Guidance (2021); 10) Local Air Quality Management Technical Guidance LLAQM.TG(22) (2022).

# PUBLIC HEALTH
# Health Impact Assessments (HIAs)

In accordance with Barnet’s emerging Local Plan, the Council will require that a Health Impact Assessment (HIA) be undertaken by developers for all major development. HIAs can help to identify aspects of development that can be enhanced to achieve the greatest health gains and where there is a need to mitigate for any potential negative impacts. If the proposal is for a major development between 10 - 149 residential units or a proposed floorspace for other uses between 1000 - 14,999 m2 it will need to complete Barnet’s own screening assessment, in accordance with Policy CHW02.

This will also apply to Hot Food Takeaways, Adult Gaming Centres, Amusement Arcades, Betting Shops, Payday Loan Shops, Pawnbrokers and Shisha Bars as required by Policy TOW03.

If the proposal is greater than this threshold it will be required to complete the more detailed Healthy Urban Development Unit (HUDU) Rapid Health Impact Assessment toolkit. The Council is producing Health Impact Assessment Guidance outlining the process and expectations for developers in relation to HIAs. HIAs should be undertaken ideally at pre-application stage. Applicants can engage with the Council’s Public Health team at pre-application stage, at a fee, to provide advice when producing their HIA.

The Council has published a Health Impact Assessment Guidance Note to describe the process for carrying out a HIA and how it fits with the planning application process for developments, or governance process for strategic planning documents and projects.

# FLOODING

Flooding

There are multiple types of flooding which could affect local areas. If your site is located on one or more areas identified as being susceptible to flooding, you will be required to provide additional information to support your application. Details of how to prepare a flood risk assessment can be found here. The West London Strategic Flood Risk Assessment (SFRA) website also provides helpful resources. The Council’s website also provides more information here.

In addition, Barnet’s Local Flood Risk Management Strategy (LFRMS) is a key statutory, strategic document, which explains how local flood risk will be managed within borough. Table 2.1 of this document explains how flood risk management is shared between authorities:

Fluvial flooding
Flooding from rivers (also known as fluvial flooding) occurs when water levels rise above banks or flood defences and overflows onto land. This flooding is categorised into 3 flood risk zones. Flood zones are based on the likelihood of an area flooding, with flood zone 1 areas least likely to flood and flood zone 3 areas more likely to flood. Please refer to Barnet’s Local Flood Risk Management Strategy Online Mapping tool Cadcorp SIS WebMap 9 - LocalFloodRiskManagement for the Barnet’s flood zone classifications and main rivers and ordinary watercourses.

The (fluvial) flood zones were produced to help developers, councils and communities understand the flood risks present in specific locations or regions. Despite being a very useful indicator of an area’s flood risk, the zones cannot tell you whether a location will definitely flood or to what severity.

A flood risk assessment may be required for some types of development depending on the flood zone.  Policy ECC03 of the Adopted Barnet Local Plan 2025 sets out which developments require a flood risk assessment and should be read in conjunction with the national Planning Practice Guidance. Any application requiring flood risk assessment should be accompanied by the relevant checklist from the West London Strategic Flood Risk Assessment.

The Sequential Test should be applied to all development as set out in the national Planning Practice Guidance (excluding householder or small scale commercial extensions) except where the site is at low risk from all sources of flooding, unless the Strategic Flood Risk Assessment, or other information, indicates there may be a risk of flooding in the future. Policy ECC03 of the Barnet Local Plan 2025 identifies such sites in Barnet as within 1% AEP (Annual Exceedance Probability) plus 70% climate change fluvial flood extent or the 0.1% AEP RoFSW (Risk of Flooding from Surface Water) flood extent.

Surface water management and Sustainable drainage systems (SuDS)

Surface water flooding occurs when rainwater does not soak into the ground or drain away, but instead settles or flows over ground as the drainage system becomes overwhelmed. An area does not need to be located near a body of water to experience surface water flooding.

The Lead Local Flood Authority (LLFA) are responsible for managing surface water flooding risks; the Environment Agency has strategic overview of main rivers. London Borough of Barnet, as a Lead Local Flood Authority (LLFA), is a statutory consultee on planning application for major development [2]proposals, which must also have surface water drainage implications in any flood zone.
[2] major development” as defined by the Town and Country Planning (Development Management Procedure Order 2015 (as amended) means development involving any one or more of the following— 1. the winning and working of minerals or the use of land for mineral-working deposits; 2. waste development; 3. the provision of dwellinghouses where — 1. the number of dwellinghouses to be provided is 10 or more; or 2. the development is to be carried out on a site having an area of 0.5 hectares or more and it is not known whether the development falls within sub-paragraph (c)(i); 1. the provision of a building or buildings where the floor space to be created by the development is 1,000 square metres or more; or 2. development carried out on a site having an area of 1 hectare or more

As part of this responsibility, the LLFA is required to ensure that Sustainable Drainage Systems (SuDS) for the management of surface water runoff are put in place, unless demonstrated to be inappropriate.

When considering SuDS as part of a planning application relating to major development, the applicant would need to demonstrate that surface water is managed in accordance with the surface water discharge hierarchy for discharge destinations. Generally, the aim should be to discharge surface run off as high up the following hierarchy of drainage options as reasonably practicable:
- into the ground (infiltration);
- to a surface water body;
- to a surface water sewer, highway drain, or another drainage system;
- to a combined sewer.

The aim of the surface water discharge hierarchy is to ensure that surface water runoff is treated at source and managed in a way which minimises the negative impact of the proposed development on flood risk and the water quality of receiving waters. Early consideration must be given to the use of rainwater harvesting systems and / or the use of green roofs, to both manage surface water runoff and deliver a source of non-potable water for the proposed development where practical. Barnet’s Local Flood Risk Management Strategy (LFRMS) provides more details of the different types of SuDS developers can propose.

A detailed surface water drainage strategy should be submitted which will set out the appropriateness of SuDS to manage surface water run-off and provision of maintenance for the lifetime of the development which they serve. Major applications which do not meet this requirement will not be made valid; all applications should be accompanied by a completed Barnet Sustainable Drainage Proforma. Section 5 of the LFRMS, titled ‘Advice for Developers’ details specific requirements that developers need to submit and should be considered.

The LLFA has also produced a , which is required to be submitted along with any planning applications. As per the SuDS Proforma, typically the LLFA would expect the Drainage Strategy to include the following but not limited to:
  - A fully labelled SuDS network diagram showing, pipes and manholes, SuDS features with reference numbers etc.
  - SuDS design input data and results to support the design.
  - Infiltration site investigation results showing that infiltration systems are feasible method of discharge for this site, if SuDS infiltration method is proposed.
  - Appropriate design rainfall i.e. Flood Estimation Handbook (FEH) design rainfall 2013.
  - Assessment of the proposed drainage system during the 30-year design rainfall according to Design and Construction Guidance, March 2020.
  - Assessment of the attenuation storage volumes to cope with the 100-year rainfall event plus climate change.
  - Evidence of TWUL agreement for discharge to their system (in principle/ consent to discharge) if the proposal includes connecting to a sewer system.
  - Details of overland flood flow routes in the event of system exceedance or failure, with demonstration that such flows can be appropriately managed on site without increasing the flood risk to occupants or neighbouring properties.
  - SuDS operation and maintenance plan.
  - SuDS detailed design drawings.
  - SuDS construction phasing.

The surface water drainage strategy for the proposed development must have evidence of Adopting Body(ies) accepting responsibility for the safe operation and maintenance of the proposed SuDS. The Adopting Body must demonstrate that sufficient funds have been held in reserve or will be raised to meet the operation and maintenance expense throughout the lifespan of the development. The Adopting Body shall be responsible for satisfying themselves of the suitability of the adopted SuDS prior to adoption. Keeping records of operation and maintenance activities, for possible inspection by the Council.

The New Design and Construction guidance (March 2020) which replaced Sewer for Adoption 7th Edition provides guidance on the types of SuDS components (not all) that can be adopted by Water and Sewerage Companies, hence paving the way for further use of SuDS.

The surface water drainage strategy should include detailed calculations to demonstrate that post-development surface water discharge rate are limited to greenfield runoff rates, for all return periods up to 1 in 100 year plus climate change allowance.

This is applicable for both Greenfield and previously developed sites. Greenfield runoff rate is the runoff rate from a site in its natural state, prior to any development.
Proposals for higher discharge rates should be agreed with the LBB ahead of submission of the Planning Application. Clear evidence should be provided with the Planning Application to show why greenfield rates cannot be achieved.

The Mayor of London has developed sector-specific sustainable drainage (SuDS) guidance for schools and social housing, parks and green spaces, hospitals, commercial and Retail as part of the London Sustainable Drainage Action Plan.  These documents can help developers to make good decisions about inclusion of SuDS in the sector you are interested/involved in.

Further information can be found on the following links:
Barnet Council website
Barnet’s Sustainable Drainage Strategy
Local Flood Risk Management Strategy (LFRMS) - 2023-29

Critical Drainage Areas

As part of the Barnet SWMP, thirty-three Critical Drainage Areas (CDAs) were identified within Barnet, which are areas considered at the highest risk of surface water flooding. A CDA can be defined as an area that has critical drainage problems and can cover wide urban and rural areas and further information can be found within Section 2.4 of Barnet’s previous LFRMS, which refers to the prioritisation of risk areas (page 11 from LFRMS).

For major applications the LLFA will ensure that: An FRA has been provided, if the site is located within a CDA.

Ordinary Watercourse Consent -Land Drainage Act 1991

If works are being undertaken within 5m of an ordinary watercourse or any culverting to the watercourse is proposed please apply for an Ordinary Watercourse Consent to the LLFA on fwm@barnet.gov.uk . Please see attached link to check the watercourses within Barnet.

Cadcorp SIS WebMap 9 - LocalFloodRiskManagement (barnet.gov.uk)

# BUILDING CONTROL

# Building Regulations
Whilst you are going through the planning process it is advisable to consider the design in terms of compliance with the building regulations as this is the next stage once you have obtained planning permission. The Council’s Building Control team can help by giving pre-application advice on your proposals. It is important to remember that Building Control is different to planning and requires both a separate application and approval. Further details can be found on Appendix 3.

The Building Control team can advise on fire safety, including means of escape; structural design; energy conservation; drainage; access and use; and any other issues required to demonstrate compliance with the Building Regulations and allied legislation including undertaking any statutory consultations required, on your behalf, and will provide the first hour of advice free of charge. If you want more detailed pre-application advice on building control beyond the initial first hour you will need to pay a fee which you can claim back when you submit a building regulation application. We would be happy to give you a no obligation quote for your scheme. In addition to the statutory checking and approval stages building control can offer a number of value added services that can assist you through the process of completing your project e.g. warranties, design assistance, system testing, accredited details and certification etc. For more information please contact Building Control on 020 8359 4500, via building.control@barnet.gov.uk or visit the website to submit your on-line application or to download your application forms at this link www.barnet.gov.uk/building-control.

Value added services can be viewed via https://www.labc.co.uk/consultancy-services and further guides to your project at https://www.labc.co.uk/your-building-project and https://www.labc.co.uk/registered-schemes.